## Slide 1: Chapter 13
Applications of switching converters

## Slide 2: Power factor correction
Power switching converters
Applications of switching converters
<number>
Review of basic concepts

## Slide 3: Principle of power factor correction
Power switching converters
Applications of switching converters
<number>
The main goal of a power factor correction (PFC) circuits is to force the load to draw a quasi-sinusoidal current from the AC power line to be in phase with the line voltage; thus, behaving as a resistive load or a controlled current source to the AC mains.

## Slide 4: Block diagram of a typical AC-DC converter with a power factor pre-regulator
Power switching converters
<number>
Applications of switching converters

## Slide 5: Self-power factor correction properties of switching converters
Switching converters exhibit self-power factor correction characteristics when operating in their discontinuous mode
Power switching converters
Applications of switching converters
<number>

## Slide 6: Buck converter
Power switching converters
Applications of switching converters
<number>

## Slide 7: Boost converter
Power switching converters
Applications of switching converters
<number>

## Slide 8: Buck-boost converter
Power switching converters
Applications of switching converters
<number>

## Slide 9: Flyback converter
Power switching converters
Applications of switching converters
<number>

## Slide 10: Control techniques for power factor correctors
Continuous conduction mode (CCM)
Discontinuous conduction mode (DCM)
Boundary conduction mode (BCM)
Power switching converters
Applications of switching converters
<number>

## Slide 11: Control techniques for power factor correctors
Peak current mode control (PCM)
Average current mode control
Hysteresis control
Power switching converters
Applications of switching converters
<number>

## Slide 12: Peak current mode control (PCM)
Power switching converters
Applications of switching converters
<number>

## Slide 13: Average current mode control
Power switching converters
Applications of switching converters
<number>

## Slide 14: Hysteresis control
Power switching converters
Applications of switching converters
<number>

## Slide 15: Borderline or boundary control
Power switching converters
Applications of switching converters
<number>

## Slide 16: Discontinuous current PWM control
Power switching converters
Applications of switching converters
<number>

## Slide 17: Power factorcorrection circuits
Power switching converters
Applications of switching converters
<number>
Basic boost-based PFC circuit

## Slide 18: A practical AC-DC converter with power factor correction
Power switching converters
Applications of switching converters
<number>

## Slide 19: Low noise DC-DC converters
Linear power supplies produce low EMI but have low power efficiency
Switched mode power supplies have higher power efficiency but produce EMI
Low noise switching power supplies use several techniques to reduce the conducted and radiated EMI while achieving acceptable power efficiency
Power switching converters
Applications of switching converters
<number>

## Slide 20: Techniques to reduce EMI
Capacitive coupling
Inductive coupling
Input filtering
Output Filtering
Slew rate limiting
Power switching converters
Applications of switching converters
<number>

## Slide 21: Buck converter with practical input and output capacitors
Power switching converters
Applications of switching converters
<number>

## Slide 22: Comparison of performance between one and two output filters
Power switching converters
Applications of switching converters
<number>

## Slide 23: Comparison of voltage waveforms with and without slew rate limitation
Power switching converters
Applications of switching converters
<number>

## Slide 24: Switching converters for solar cells
Power switching converters
Applications of switching converters
<number>
Typical configurations of PV systems

## Slide 25: Solar cell model
Power switching converters
Applications of switching converters
<number>
Equivalent circuit of a solar cell
I-V and power curves of a solar cell

## Slide 26: Switching converters for fuel cells
Power switching converters
Applications of switching converters
<number>
Block diagram representation of a fuel cell system

## Slide 27: Switching converters for fuel cells
Power switching converters
Applications of switching converters
<number>
Block diagram of a fuel cell

## Slide 28: Switching converters for fuel cells
Power switching converters
Applications of switching converters
<number>
Equivalent circuit of a fuel cell
Power-current characteristic of a fuel cell
Voltage-current characteristic of a fuel cell

## Slide 29: Switching converters for LED drivers
Power switching converters
Applications of switching converters
<number>
Buck-based LED drivers

## Slide 30: Switching converters for LED drivers
Power switching converters
Applications of switching converters
<number>
Boost-based LED drivers

## Slide 31: Switching converters for LED drivers
Power switching converters
Applications of switching converters
<number>
Cuk-based LED drivers